Minutes

Common meeting AhG UCTE format and UCTE-CIM team

10th September 2008, Zurich, 09:00 h – 17:00 h

Participants:

Mr	Chavdar Ivanov	UCTE

Mr	David Chury	UCTE

Mr	Marc Emery	swissgrid

Mr	Jay Britton	AREVA

Mr	Guillaume Lapierre-granivet	RTE	(substitute)

Mr	Erik Wolfs	ELIA

Mr	Karel Maslo	CEPS

Mr	Walter Sattinger	swissgrid

Mr 	Eric Lambert	EDF

Mr 	Lars-Ola Osterlund	ABB

Mr 	Maurice Adriaensen	KEMA

Mr 	Mick Barlow	SIEMENS

Guests:

Mr	Juan Pablo Fernandez	swissgrid

Mr	Gerard Hoogenraad	swissgrid

Mr	Tomasz Rogowski	EPCON (PSE-Operator)

Mr	Rafael Lorez	AREVA

Agenda

| Top | Subject | Presentation |
| --- | --- | --- |
| 1 | Introduction, Approval of the agenda; |  |
| 2 | Information on AhG activities |  |
| 3 | Analysis of UCTE-CIM profile. Agreement on CIM extensions to be proposed to IEC/WG13 |  |
| 4 | UCTE DEF – CIM converter for the test case - status |  |
| 5 | Miscellaneous: Action plan; Conclusions; Next meeting |  |

Top 1	Introduction, Approval of the agenda;

- The agenda was approved.

Top 2	Information on AhG activities

C. Ivanov informed about the AhG activities on UCTE CIM profile and UCTE Migration policy. The aim is to perform IOP for UCTE in the beginning of 2009 and to have UCTE Migration policy approved by UCTE Steering Committee.

Top 3	Analysis of UCTE-CIM profile. Agreement on CIM extensions to be proposed to IEC/WG13

- E. Wolf presented the last version of UCTE CIM. The following issues have to be clarified and/or submitted as CIM issues:

    - [CIM issue]: Transformer

      - Switch from “Y” model to “D” model.  Explanatory note will be attached

      - b and g on the PowerTransformer level.

      - i0 (no load losses) and pn (no load current) are added to PowerTransformer.

      - [UCTE sub-issue – deadline one week, 19th Sep.]: Do we need b, g and i0 and pn?

    - [UCTE issue – deadline one week, 19th Sep.]: Equivalent elements (Branch, Generators, etc.) or real/equivalent (Status object)

    - [CIM issue]: UCTE “TransformerRegulator”. A description (old format and test report) will be attached to the issue document.

      - TapChanger/UCTEVoltageRegulator – to be further investigated. If there is no easy solution then CIM issue – Kendall, Erik.

      - To split TapChanger to two parts (phase/voltage) and compare with UCTE proposal.

    - [CIM issue]: Line/Transformer limits. Type to be replaced by Duration

      - [UCTE issue – deadline one week, 19th Sep.]: UCTE to clarify: threshold in N-1

      - Limits at terminal level

    - [CIM issue]: Attributes of UCTEGeneratorUnit to be in GeneratorUnit

      - Subclasses for thermal/hydro etc.

      - [UCTE issue – deadline one week, 19th Sep.] Fuel type

      - baseP, baseQ to be genOutputMW, genOutputMVAr

    - [CIM issue]: Proposal for nodes

      - UCTE to clarify (deadline one week, 19th Sep.): Umin, Umax only for regulated nodes or for all. Operational limits?

      - Voltage limits to be moved to busbar section

      - Some attributes will be included in TopologicalNode (name, reference location, etc.)

      - Relation between TopologicalNode and VoltageLevel

Top 4	UCTE DEF – CIM converter for the test case - status

- Eric Lambert presented the status of development of UCTE-CIM converter. The following issues have to clarified in order to finalize the requirements for the converter:

    - Differences between CPSM profile and updated version of that profile. It will be tested during IOP in October

    - Differences between updated CPSM profile and UCTE profile

- The converter should be ready for the IOP for UCTE (beginning of 2009)

Top 5	Miscellaneous: Action plan; Conclusions; Next meeting

- The next common meeting is planned to be in the second half of November 2009 (17.11-28.11). The purpose of that meeting would be to discuss/define IOP program. C. Ivanov will send an email to members and ask for their availability.

- The following action plan has been agreed:

    - Last version of UCTE CIM and UCTE CIM issues will be submitted to IEC/WG13 (25th Sep.) – Kendall, Erik, Chavdar.

    - UCTE to define test cases that will be used during IOP for UCTE and for testing of the converter provided by EDF

    - IOP for UCTE – beginning of 2009. Participation (to be clarified):

      - Planning vendors.

      - SCADA/EMS vendors.

    - UCTE-CIM team teleconferences. Possible periods: end Sep., end Oct. and before next meeting.